## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Auden House
St Anns Court
York
YO10 5FD
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 22-22500
DATE OF REPORT: 01/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22500
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | 42 Auden House
St Anns Court
York
YO10 5FD
Carried Out On | 01/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Heating is stuck on in the flat thermostat indicates that it is switched off however it is very hot in the flat & the manager has confirmed that the heating is on. Please call Fae (extra scheme manager) for more info & confirm access arrangments - Tel: 07789375563 or Tel: 01904 466056

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22500
SECTION 3: Report
Investigated and operated heating controls. Removed boxing to access underfloor heating actuators and manifold. Established correct operation of zone actuators. Tested 2 port valve and found valve sticking, removed valve head and serviced 2 port head and body. Reassembled 2 port and tested heating. Heating water is now isolated. Heating is switch off, customer happy.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22500
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes