## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Percy Lodge
St Johns Terrace
Percy Main
NE29 6JT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-22516
DATE OF REPORT: 25/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22516
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | 1 Percy Lodge
St Johns Terrace
Percy Main
NE29 6JT
Carried Out On | 05/09/2022, 25/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Radiator not heating up - stat up to 6

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22516
SECTION 3: Report
GB-25/10/22- TENANT SAID LIVING ROOM RAD NOT HEATING UP. CHECKED FLOW AND RETURN TEMP ON PIPE JUST BEFORE RAD WHICH WAS 50 DEGREES ON FLOW AND 40 DEGREES ON RETURN. ALSO CHECKED THE CENTRE OF THE RAD, TOP AND BOTTOM. THE TOP WAS AT 53 DEGREES AND BOTTOM 39 DEGREES.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22516
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes