## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
34 Horsman Avenue
York
YO10 5AN
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 22-22517
DATE OF REPORT: 07/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22517
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | 34 Horsman Avenue
York
YO10 5AN
Carried Out On | 07/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Noise coming from solar panels - The pumps need to be tested and try to find fault. Sound is worse during the day than at night.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22517
SECTION 3: Report
Arrived on site, spoke to Ms Jones, she explained on 1 occasion the boiler or solar was very noisy, water hammer. I vented all the rads and boiler, vented solar heating in roof, top up low system pressures to wet heating and solar. Tested all safety devices, stats, pumps etc, ALL OK. Could not hear any unusual noise, tenant happy.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Roof
Description
HW cylinder
Notes
Room / Area
Roof
Description
Solar control
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes