## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Oakwood Court
Stanley
Co Durham
DH9 8NE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22719
DATE OF REPORT: 05/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22719
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Oakwood Court
Stanley
Co Durham
DH9 8NE
Carried Out On | 05/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Heating won't turn off (flat been red hot all weekend tenant 85 and is struggling with the heat). Reported by Michelle Scheme Co-Ordinator

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22719
SECTION 3: Report
Flat 5 Heating too hot, 3 port valve and wall thermostat located in kitchen cupboard, tested 3 port valve and thermostat, both valve and thermostat are faulty and will have to be.replaced. As a temporary solution I manually closed the 3 port valve shutting the heating to flat 5 off, this was after a discussion with tenant and Scheme manager. Remedial work, replace 3 port valve and thermostat, 1/2" steel pipe, I could not find any local isolation valves that work to turn off heating to flat 5. Quote to replace 3 port and wall mounted thermostat. Isolate boilers and cool heating system, freeze heating pipework, cut out 3 port valve, alter pipework and fit new 3 port, fit new thermostat 2 x men freezer kit, crimpper, dust sheets, 22mm compression 3 port, room stat, 22mm copper 3 x 1/2" male thread to 22mm crimp, 3 x 22mm slip straights, crimp, 3 x 22mm elbows, crimp. 1 x 1/2" Steel Union.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes