## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
30 Derwentdale Court
Consett
Durham
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-22910
DATE OF REPORT: 15/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22910
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 30 Derwentdale Court
Consett
Durham
DH8 8PY
Carried Out On | 14/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Replace TMV's within Flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22910
SECTION 3: Report
GB-14/09/22-Replaced SARACEN 22mm tmv and RESIDEO BRAUKMANN 22mm prv. FOW required, 150mmx250mm inspection hatch to be fitted. I have ordered one from wolsley concert on 14/09/22 and should be in 15/09/22. So will fit it on the 15/09/22 if it arrives. GB-15/09/22- Fitted new inspection hatch

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22910
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes