## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The Orchard
South Preston Grove
North Sheilds
NE29 0HB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-22953
DATE OF REPORT: 06/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-22953
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | The Orchard
South Preston Grove
North Sheilds
NE29 0HB
Carried Out On | 15/09/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-22953
SECTION 3: Report
Carried out ppm check on plant room 3x Hamworthy fleet f100v boilers, 1 = operational, 2= operational, 3=operational 2x Hamworthy powerstock calorifiers, 1= operational , 2= operational 1x Hamworthy chesill pressurisation unit = operational 2x DHW expansion vessels = operational and charged to 3.5 bar 1x CH expansion vessel = operational and charged to 1.5 bar Lagging = good Flue = average Pipe work = no leaks or signs of corrosion Gauges and valves = operational Sensors reading correctly BMS = operational Gas interlock = operational 3x Schneider actuators = operational 3x mixing valves = operational WATER TEST 7.9 PH @ 22 degrees and clear 2x biral destrat pumps 1= operational = 0.3 amps 2= operational = 0.3 amps 2 x Grundfos magna 3 32-120 primary pumps 1= operational = 0.4 amps. 2= operational and 0.5 amps 2x Grundfos magna3 40-100 vt pumps. 1= operational = 0.6 amps. 2= operational = 0.6 amps 1x Grundfos magna1 25-60 secondary hot water pump = operational = 0.2 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-22953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-22953
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes