## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
85 Crossfields
Coulby Newham
Middlesbrough
TS8 0TT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23061
DATE OF REPORT: 14/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23061
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 85 Crossfields
Coulby Newham
Middlesbrough
TS8 0TT
Carried Out On | 14/09/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Check pipes behind washing machine

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23061
SECTION 3: Report
PN 14/9/22 Waste pipe needs adjusted in unit. unit needs cut out to adjust pipe so washing machine can fit into space properly there is no leaks in property Washing machine has been pushed back customer is happy for it to be sorted at a later date

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23061
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes