## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Haven House
Haven House (Flats 1-22) Valley View
Leadgate
DH8 7PS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23067
DATE OF REPORT: 21/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23067
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Haven House
Haven House (Flats 1-22) Valley View
Leadgate
DH8 7PS
Carried Out On | 15/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
FOW from 22-23065 - Diagnose Fault. No hot water in kitchen/bathroom - Plumber has attended and has advised comercial boiler displaying 'boiler failed' message and error code E04

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23067
SECTION 3: Report
Ideal imax boiler - Suspected water damage to due a defective heat exchanger i could not see the source of this leak so it could well have been due to weather ingress. A repair to the front panel pcb and main controller is required, parts sent to merchants to source availability and lead time, may be difficult to source / obsolete due to age. Currently the gas has been isolated due to the boiler not being able to run due to electrical damage. In the event the repair is un successful the boiler will need to be replaced.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes