## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cheviot View
West Street
West Allotment
NE27 0RA
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-23167
DATE OF REPORT: 31/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23167
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Cheviot View
West Street
West Allotment
NE27 0RA
Carried Out On | 20/09/2022, 23/09/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Monthly Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23167
SECTION 3: Report
3 x Hamworthy fleet f125v. 1= operational 2= operational 3= operational 2 x Hamworthy powerstock calorifiers1= operational 2= operational 2 x flame pressurisation unit. 1= operational 1 x C/H expansion vessel = operational charged to 1.7 bar 2 x DHW expansion vessels = all operational charged to 3.5 bar Valves = operational Gauges = operational Flues = leaks in 3 place 5 x PRV,s = operational 1 x interlock = operational Lagging = good Water test = PH7 @ 33 degrees Zone 1 VT pumps Grundfos magna 3d 40-200. 1= good =0.6 amps. 2= good = 0.6 amps Primary pumps Grundfos magna 3d 50-180 1= good =0.7 amps. 2= good 0.7 amps 2 x 3 port valves. 1= operational 2= operational 3 x Schneider actuators. 1= operational 2= operational 3= operational Sensors = Operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23167
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes