## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eccles Grange
Church Road
Backworth
NE27 0FW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-23169
DATE OF REPORT: 27/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23169
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eccles Grange
Church Road
Backworth
NE27 0FW
Carried Out On | 27/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Gasket requires replacement and also extra support required for pipe

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23169
SECTION 3: Report
Could NOT turn mains cold water wheel head off in plant room. Valve was on the verge of snapping. I managed to flog up non return Valve and stop original leak. FOW, quote to remove mains cold water isolation wheel head and replace with. 1 x 67mm lever valve 2 x 67mm straight slips 1m 67mm copper 1 x non return Valve as per photo 2 x gaskets to suite NRV Nuts and bolts to suite NRV 1 x 67mm x 67 mm x 15mm tee to repipe tap Crimper 2 x men all day WATER BOARD REQUIRED TO TURN OFF AT BOUNDRY

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23169
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes