## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 10 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23177
DATE OF REPORT: 20/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23177
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 10 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 20/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Heating issue in flat 10 - heating has been on constant since Zenith engineer attended last week - turned all stats down/off but heating still on & heat causing resident to feeel unwell

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23177
SECTION 3: Report
Not sure what the issue is but heating working correctly. I spoke to the tenant and staff at length and it was evident they had a misunderstanding of how the system controls operate. I tested all 3 room stats bathroom, bedroom and lounge, all working correctly. I test all 3 actuators operating heating zones all working correctly. Tested and checked wiring centre, all ok. Removed and refitted wood panel to access heating equipment. Explained to tenant how controls work.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23177
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes