## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court
Clavering Street
Wallsend
NE28 6SF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-23184
DATE OF REPORT: 03/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23184
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Eldon Court
Clavering Street
Wallsend
NE28 6SF
Carried Out On | 20/09/2022, 03/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Heating is off in the building - Please investigate and repair if possible

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23184
SECTION 3: Report
GP - 20/9/22 - On arrival found the 3 Hamworthy fleet boilers were in e133 error mode. Carried out the normal fault finding and found that all 3 had blocked sumps so cleaned out best I could to get them back on line but recommend a strip down to access the sump so a wash down could be carried out. Also the control panel was all flashing and traced a faulty relay on the air source heat pump pressurisation unit. This was linked out to stop sending fault signals to the panel Checked 3 boilers all healthy Checked 2 water heaters both healthy

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23184
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes