## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
41 Lilac Crescent
Burnopfield
Newcaste Upon Tyne
NE16 6QF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23192
DATE OF REPORT: 20/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23192
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 41 Lilac Crescent
Burnopfield
Newcaste Upon Tyne
NE16 6QF
Carried Out On | 20/09/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23192
SECTION 3: Report
Boiler to be removed - Vaillant ecotec pro Boiler Serial number 2106463008511 1300033408n4 Combi / heat only / system boiler - combi Boiler location - landing Is 22mm gas pipe visible at boiler -no Flue type - Horizontal Any access requirements - ladders for flue Flue guard needed - no Standoff kit required - no Gas meter internal / external - Internal Condensate pump required - no Condensate termination - external Number of radiators -7 Size of pipework at radiators - 7 Number of bathrooms - 1 Electric shower - yes Any other means of heating - Electric fire Current Cooker Type - Gas If gas, please state make and model- belling Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23192
SECTION 4: Photos
Room / Area
Description
Fuse board
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23192
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23192
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23192
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23192
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes