## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
50 Lilac Crescent
Burnopfield
Newcaste Upon Tyne
NE16 6QF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23200
DATE OF REPORT: 20/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23200
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 50 Lilac Crescent
Burnopfield
Newcaste Upon Tyne
NE16 6QF
Carried Out On | 20/09/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23200
SECTION 3: Report
Boiler to be removed - Vaillant ecotec pro Boiler Serial number - Combi / heat only / system boiler -combi Boiler location - Landing Is 22mm gas pipe visible at boiler -no Flue type -rsh Any access requirements -ladder for flue Flue guard needed - no Standoff kit required -no Gas meter internal / external -internsl Condensate pump required - no Condensate termination - external Number of radiators - 7 Size of pipework at radiators - 10mm Number of bathrooms -1 Electric shower -no Any other means of heating - Electric Current Cooker Type - If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23200
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23200
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23200
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23200
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23200
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes