## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
37 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23215
DATE OF REPORT: 28/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23215
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 37 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 22/09/2022, 28/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Tenant has no heating and a heavy leak from pipes in the cupboard, Filling bucket every 3 to 4 hours which is capturing water.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23215
SECTION 3: Report
NO LEAK NO BUCKET Issue is no heating, room thermostat working, sending signal to 2 port valve in cupboard, 2 port valve faulty. I've removed head to allow heating flow, NO flow. Tested rad valves, bedroom, kitchen and lounge, all rad valves are 30 ish years old and are not working correctly. In addition to this flat heating system has no water flow, I suspect a isolation valve is jammed closed or the differential valve capillaries are blocked. 22mm copper primary flow and return in cupboard, reduced down to 10mm copper flow and return to rads. STILL NO HEATING FOW, isolate heating to full scheme, allow heating to cool for at least 6 hours. Attach freezer kit to heating flow and return in airing cupboard, freeze pipes, drain flat system. Remove existing pipework and broken valves in cupboard remove 3 x pair TRVs. REPLACE: 3 x pair rad valve TRVs bent see photo, get same type, to avoid damaging walls and decoration, 1 x 22mm honeywell 2 port valve, 1 x honeywell room stat, 2 x 22mm flow and return heating isolation lever valves press in airing cupboard, 2 x 1" female brass x 22mm press, 2 x male brass x 22mm press, 6 x 22mm bends press, 6 x 22mm straights press, 2 x 15mm service valves compression. 3m 15mm copper, 3m x 22mm copper. Press tee 22 x 22 x 15 2 x dust sheets, 1 x freezer kit, press kit. ALL NEW CARPETS IN FLAT. LABOUR, 2 X 8 HOURS, ALLOWANCE FOR SYSTEM COOLING? PLEASE CONTACT DIANE, MANAGER, SHE WILL SPOKE TO TENANT. NB, number 37 has same issues, Diane asked me to have a look, same material, same protocol.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23215
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes