## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Unity Hall
71 Mill Dam
South Shields
NE33 1EQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23234
DATE OF REPORT: 19/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23234
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Unity Hall
71 Mill Dam
South Shields
NE33 1EQ
Carried Out On | 19/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Zenith - Replace TRV - radiator in passage valve has come off. no leaks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23234
SECTION 3: Report
GB-19/10/22- HALL TRV VALVE FAULTY. REPLACED VALVE WITH DRAYTON EB1/2 A EBERLE VALVE AND FITTED NEW DRAYTON TRV4 CLASSIC HEAD. MATERIALS ORDERED FROM CROSSLINGS LTD ON INDUSTRY ROAD. ALSO ORDERED ANOTHER TWO SO HAD SOME FOR VAN STOCK

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes