## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Osborne Villas
9 Osborne Avenue
Newcastle upon Tyne
NE2 1JU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23274
DATE OF REPORT: 26/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23274
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Osborne Villas
9 Osborne Avenue
Newcastle upon Tyne
NE2 1JU
Carried Out On | 26/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Fit new gas valve that was found to be faulty on annual gas service

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23274
SECTION 3: Report
Fitted new gas valve, completed safety checks and flue gas analysis NB, All controls and heating panel in HAND, on arrival. Left in HAND, mai panel not operating, this is historic.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23274
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes