## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Lilac Crescent
Burnopfield
Newcaste Upon Tyne
NE16 6QF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23299
DATE OF REPORT: 28/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23299
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 29 Lilac Crescent
Burnopfield
Newcaste Upon Tyne
NE16 6QF
Carried Out On | 28/09/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23299
SECTION 3: Report
ALARM DETAILS!!!: Upstairs Smoke Alarm Location & Date - landing Aug 2029 Downstairs Smoke Alarm Location & Date - living room Aug 2029 Heat Alarm Location & Date - NO Co Alarm Location & Date - landing 2032 Co Alarm Replaced - Yes/No no Boiler to be removed - eco tec pro Boiler Serial number -2106453085 1300032472n4 Combi / heat only / system boiler - combi Boiler location - landing Is 22mm gas pipe visible at boiler -no Flue type - rsh Any access requirements - ladders flue Flue guard needed - no Standoff kit required -no Gas meter internal / external - internal Condensate pump required -no Condensate termination -external Number of radiators - 7 Size of pipework at radiators - 10 Number of bathrooms - 1 Electric shower - no Any other means of heating - Electric fire Current Cooker Type - electric If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23299
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes