## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-23302
DATE OF REPORT: 23/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23302
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 23/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Andy scheme officer has reported that heating is off across various flats/communal areas in scheme. He has checked boilers and both are working as they should some flats ok but others have no heating and residents are really feeling the cold - confirmed 17 18 and 26 off and has asked other residents to check theirs. Communal heating on gf corridor is off bar one radiator which is constantly on (has been reported and stil lto be repaired - loose valve).

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23302
SECTION 3: Report
GB-23/09/22-LPHW had been isolated for some reason which is unknown behind the tanks. Reopened isolation valve and gone round to the three flats and communal to make sure now heating up. There are bathroom fitters here so not sure if they have been messing on with stuff

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23302
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes