## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Cookson Place
Stanley
County Durham
DH9 6YS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23309
DATE OF REPORT: 23/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23309
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 26 Cookson Place
Stanley
County Durham
DH9 6YS
Carried Out On | 23/09/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
SOR Description Units SMV S3000 Re-commission Gas 1 60

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23309
SECTION 3: Report
Attended site, no cap in gas meter. Attempt to turn on appliance, no avail, power from socket to appliance and not beyond. Passed for repair. Capped gas meter at the outlet.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23309
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes