## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
BROWNSEA PLACE/MILLWAY 1
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23310
DATE OF REPORT: 23/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23310
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | BROWNSEA PLACE/MILLWAY 1
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 23/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Reported by WACA Andy - farthest radiator on gf hallway is constantly on full - valve broken.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23310
SECTION 3: Report
GB-23/09/22- RAD TRV VALVE on ground flower of left side of the building needs replacing. The RAD is heating up but not able to turn off if required, the pin will not sitting any further down in to the valve to be able to screw the trv on. Tried to push pin down and lubricated it up and just goes in a little bit and then stops but also turns the RAD off. Speak to client to see what they want to doing.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes