## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Dunstanburgh Court
NE32 3AE
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-23334
DATE OF REPORT: 23/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23334
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Dunstanburgh Court
NE32 3AE
Carried Out On | 23/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Leak in bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23334
SECTION 3: Report
GB-24/09/22- Cold water bath tap leaking at connection to copper pipe. Tried tighting it up and still leaking. Looks like been leaking for a while. Mould underneath bath and floor next to bath is all soft. Tap to be replaced. I have isolated the cold feed to the tap so still has hot and cold water at other outlets. Does not have a bath only a shower in the bath

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23334
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes