## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
59 Hartington Road
Stockton-on-Tees
TS18 1HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23335
DATE OF REPORT: 23/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23335
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 59 Hartington Road
Stockton-on-Tees
TS18 1HD
Carried Out On | 23/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Job Description - No heating in building, commercial boiler.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23335
SECTION 3: Report
GB-23/09/22- on arrival hot water was fine and both boilers seemed to be at temperature. Checked stat which was calling for a demand but the primary heating pump did not seem to be circulating. Turned boilers off and on again at fuse spur and pump started up again and boilers temperature started to decrease and fire back up. Think pump could do with been replaced.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23335
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes