## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Grange Way
DH6 5PL
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-23346
DATE OF REPORT: 25/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23346
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Grange Way
DH6 5PL
Carried Out On | 25/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No hot water and cold water is only slightly coming out

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23346
SECTION 3: Report
GB-25/09/22- SURE STOP FAILED. NOT OPENNING UP FULLY TO LET MAIN WATER THREW SO PRESSURE IS NOT THE BEST AND TAKING ALIT LONGER TILL FILL HOT WATER CYLINDER. ELECTRIC SHOWER HAS NOT BEEN EFFECTED THOUGH SO STILL ABLE TO HABE A WASH. JOB TO BE RAISED TO REPPACE SURESTOP. Also it is 67 not 7

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23346
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes