## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Edith Moffett House
Albeit Road
NE29 0HA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23348
DATE OF REPORT: 25/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23348
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Edith Moffett House
Albeit Road
NE29 0HA
Carried Out On | 25/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No heating and hot water in building

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23348
SECTION 3: Report
GB-25/09/22- PUMPS WHERE OF EVEN THOUGH WHERE SET TO ON AT CONTROL PANEL. TURNED THEM TO AUTO AND CAME ON BUT GO OF WHEN TURNED TO ON. SO HAVE LEFT THEM TO AUTO

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23348
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes