## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Langley House
Langley Close
TS10 4JF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23350
DATE OF REPORT: 25/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23350
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 25 Langley House
Langley Close
TS10 4JF
Carried Out On | 25/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23350
SECTION 3: Report
GB-25/09/22- PUT EVERYTHING BACK TO AUTO EXCEPT DHW PUMPS AND REOPENED VALVE ON THE BYPASS ON THE BRAMCH AFTER MIXING VALVE. PLANTROOM WORKING AS SET UP BY THE BMS. HEATING COMING ON ONCE OUTSIDE TEMP IS BELOW 14 DEGREES. FOR FLAT 25 HE HAS SLL HIS RADS SET TO 1 ON THE TRV SO HE WOULD NEVER KN9W WHEN THE HEATING IS ON OR OFF ANYWAYS.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes