## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms within - Sthrathmore House
Newcastle upon Tyne
NE4 8UA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23363
DATE OF REPORT: 26/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23363
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms within - Sthrathmore House
Newcastle upon Tyne
NE4 8UA
Carried Out On | 26/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Boiler No.1 not working

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23363
SECTION 3: Report
No power to boiler 1, fused spur no power. I tested 3 amp fuse in fused spur, fuse healthy. I tested 1 amp glass fuse in boiler, fuse healthy. Traced power loss back to main heating control, mcb tripped, reset mcb and ran boiler 1, boiler 1 operating correctly. If the boiler had a faulty component internal fuse and or fused spur fuse would have blown. With mcb tripping, I recommend an electrician visits site and tests wiring in heating control panel and cables feeding boiler.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23363
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes