## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
53 Dorset Crescent
Consett
County Durham
DH8 8HX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23373
DATE OF REPORT: 29/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23373
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 53 Dorset Crescent
Consett
County Durham
DH8 8HX
Carried Out On | 29/09/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23373
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing March 2031 Downstairs Smoke Alarm Location & Date -hall Aug 2031 living room may 2031 Heat Alarm Location & Date - may 2031 kitchen Co Alarm Location & Date - bedroom march 2033 Co Alarm Replaced - Yes/No no Boiler to be removed - Vaillant ecotec pro Boiler Serial number - 210709308511 1300011895n9 Combi / heat only / system boiler - combi Boiler location - bedroom Is 22mm gas pipe visible at boiler - yes Flue type -rsh Any access requirements -flue ladders Flue guard needed - no Standoff kit required - no Gas meter internal / external - external (side entry to box for gas pipe) incorrect Condensate pump required - no Condensate termination - external( incorrect) Number of radiators - 7 Size of pipework at radiators - 10 Number of bathrooms -1 Electric shower - yes Any other means of heating -no Current Cooker Type - electric If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23373
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes