## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Weavers Court
Alnwick
Northumberland
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23379
DATE OF REPORT: 27/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23379
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Weavers Court
Alnwick
Northumberland
NE66 1SZ
Carried Out On | 27/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Heating issue in flat 10 - heating has been on constant since Zenith engineer attended last week - turned all stats down/off but heating still on & heat causing resident to feeel unwell

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23379
SECTION 3: Report
No heating in bathroom Heating too hot in lounge and kitchen. I operated room stats and underfloor heating actuators, ALL operating correctly. We need to source cartridges for manifold, return to site, strip out manifolds and clean replace cartridges See photos Can we check site maintenance files for as built information for manifolds

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23379
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes