## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Holly Crescent
Sacriston
Durham
DH7 6PW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23392
DATE OF REPORT: 26/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23392
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Holly Crescent
Sacriston
Durham
DH7 6PW
Carried Out On | 26/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23392
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - no Downstairs Smoke Alarm Location & Date -.no Heat Alarm Location & Date - no Co Alarm Location & Date - na Co Alarm Replaced - Yes/No no Boiler to be removed - yes Boiler Serial number - see photo Combi / heat only / system boiler - combi Boiler location - cupboard under stairs Is 22mm gas pipe visible at boiler - yes Flue type - Any access requirements - crap all over house and garden Flue guard needed - no Standoff kit required - no Gas meter internal / external - ex Condensate pump required - no Condensate termination - gulley Number of radiators - 7 Size of pipework at radiators - 15mm Number of bathrooms - 1 Electric shower - ? No access Any other means of heating - no Current Cooker Type - gas If gas, please state make and model Current Cooker Type - no data If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23392
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23392
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23392
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23392
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23392
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes