## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
38 Sherburn Terrace
Consett
County Durham
DH8 6NP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23402
DATE OF REPORT: 26/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23402
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 38 Sherburn Terrace
Consett
County Durham
DH8 6NP
Carried Out On | 26/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
boiler not working no heating no hot water ----

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23402
SECTION 3: Report
GB-26/09/22- NO POWER TO BOILER OR RECEIVER, CHECKED HOW MANY VOOTS COMING IN TO FUSE SPUR AND WAS ONLY GETTING 195 ACROSS LIVE AND NEUTRAL. ELECTRIC WORK HAD BEEN DONE IN THE PROPERTY TODAY. SO CHECKED THE DISTRUBITION BOX AND THE NETURAL WAS NOT CONNECTED FULLY. CONNECTED ALL UP AND TIGHTNED EVERYTHING DOWN AND BOILER CAME BACK ON.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes