## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 St Johns Court
Front Street
Sacriston
DH7 6JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23406
DATE OF REPORT: 27/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23406
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 St Johns Court
Front Street
Sacriston
DH7 6JA
Carried Out On | 27/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
FOW from 22-23371. Return to site to fit immersion and stat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23406
SECTION 3: Report
GB-27/09/22- GRAHAM OR ROB TO ATTEND. THERE IS NO POWER GOING TO FUSE SPUR TO POWER THE TANK AND THERE IS NO RCD ON THE DISTRUBITION BOARD FOR WATER HEATER BUT EBEYTHI G IS UP AND THERE IS POWER IN THE FLAT. ALSO THE PIPE WORK COMING OUT OF THE TANK TO FEED THE TMV IS HOT AS WELL AS THE DRAIN COCK. WHEN HOT TAP RAN LITTLE BUT OF HEAT COMES THROUGH THEN GOES COLD. SO THINK THE TMV IS FAULTY ALSO

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes