## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
35 Auden House
St Anns Court
York
YO10 5FD
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 22-23420
DATE OF REPORT: 14/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23420
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | 35 Auden House
St Anns Court
York
YO10 5FD
Carried Out On | 29/09/2022, 13/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
No heating - Heating not adjusting with the thermostat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23420
SECTION 3: Report
RP - 13.10.22 - Travel 0800 to 0932 Tested all heating zones, checked and serviced room stats, clean dust from terminals and re terminated wiring. Checked CH programmer, battery has leaked acid in programmer, cleaned acid from programmer and from battery terminals, tested all heating zones, all ok. Ambient flat temperature on arrival 24.4 dc had to raise stat temps to 26 dc before, 2 port opened.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23420
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes