## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Langley Close
Redcar
TS10 4JE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23428
DATE OF REPORT: 28/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23428
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 17 Langley Close
Redcar
TS10 4JE
Carried Out On | 28/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Boiler pipe work re-piping following P1. Pipe work that goes into concrete will need re-pipped. He said it could take 2-3 hours and would need done asap. 15mm into floor from cooker. 17 Langley - Andy Sutherland confirmed works required after speaking with Michael Wright on Monday. Any problems speak to Andy Sutherland - 07849843068

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23428
SECTION 3: Report
GB-28/09/22- INSTALLED NEW GAS RUNNING FROM BOILER TO COOKER.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23428
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23428
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23428
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23428
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23428
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes