## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Derwentdale Court
Consett
Durham
DH8 8PY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23475
DATE OF REPORT: 04/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23475
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Derwentdale Court
Consett
Durham
DH8 8PY
Carried Out On | 04/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Replace TMV's within Flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23475
SECTION 3: Report
GB-4/10/22-REPLACED 22MM TMV WITH A SARACEN 22MM TMV AND REPLAVED 22MM PRV WITH A 22MM RESIDEO BRAUKMANN PRV. ALSO FITTED ANOTHER INSPECTION HATCH. ALL MATERIALS ORDERED FROM CONSETT WOLSELEY

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23475
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23475
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23475
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23475
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23475
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes