## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
52 Woodside Grove
Tantobie
Stanley
DH9 9PR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23512
DATE OF REPORT: 30/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23512
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 52 Woodside Grove
Tantobie
Stanley
DH9 9PR
Carried Out On | 30/09/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23512
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing dec 2032 Downstairs Smoke Alarm Location & Date - living room dec 2032 Heat Alarm Location & Date - none Co Alarm Location & Date - kitchen march 2032 Co Alarm Replaced - Yes/No no Boiler to be removed - Vaillant ecotec pro Boiler Serial number -21060730851 1300008725n3 Combi / heat only / system boiler - combi Boiler location - kitchen Is 22mm gas pipe visible at boiler -no Flue type -rsh Any access requirements -no Flue guard needed -no Standoff kit required -no Gas meter internal / external -internal Condensate pump required -no Condensate termination -external Number of radiators -7 Size of pipework at radiators -10 Number of bathrooms -1 Electric shower -yes Any other means of heating -no Current Cooker Type -electric If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23512
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23512
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23512
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23512
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23512
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes