## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23517
DATE OF REPORT: 12/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23517
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 30/09/2022, 07/10/2022, 12/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
heating crackling customer does not want to use. hot water is luke warm unable to shower etc. ongoing issues. customer states there are a lot of cables lying around. karbon electrician and heating engineer referred back to zenith

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23517
SECTION 3: Report
I investigated heating and hot water issues. Tested HIU and diverted actuators, hot water actuator needs replacing and heating actuator has intermittent fault so best practice to replace both actuators. Passed details to Craig at Byker and Kieran. FOW, visit site and replace heating and hot water actuators in HIU. Travel 0740 to 0900 Site 0900 1115 Replaced heating and hot water actuators to HIU, tested heating and hot water, a working. New actuator head burnt out, I fitted new head put of van stock, tested heating and hot water, all ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23517
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes