## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 East Lea
Humshaugh
Hexham
NE46 4BU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23530
DATE OF REPORT: 16/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23530
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 East Lea
Humshaugh
Hexham
NE46 4BU
Carried Out On | 29/09/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Air Source Heat Pump - Noisy

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23530
SECTION 3: Report
KH 29/09/2022 - only a slight noise no arrival to site. Spoke to Mitsubishi technical and they advised that due to the age of the unit as it is 10 year old, it could be an issue with the fan motor causing the noise. If noise persists i would recommend some fan oil to lubricate the fan. I have also tightened up all screws holding the panels to the unit as sounded like a slight vibration of the panels when the unit was running. Unit working as it should creating heating and hot water.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23530
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes