## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 The Haven
Leadgate
Consett
DH8 7PU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23585
DATE OF REPORT: 13/10/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23585
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 20 The Haven
Leadgate
Consett
DH8 7PU
Carried Out On | 01/09/2023, 13/10/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23585
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - NA Downstairs Smoke Alarm Location & Date - bedroom and living room feb 2032 Heat Alarm Location & Date - kitchen 2032 Co Alarm Location & Date - bedroom 2030 Co Alarm Replaced - Yes/No no Boiler to be removed -Vaillant Boiler Serial number - 210630308511 Combi / heat only / system boiler -combi Boiler location - bedroom Is 22mm gas pipe visible at boiler -yes Flue type -vertical 2x 45s and 3x extensions Any access requirements - roofer to fit flue Flue guard needed - no Standoff kit required - no Gas meter internal / external - internal Condensate pump required -yes Condensate termination - into bathroom behind Number of radiators -5 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating - Current Cooker Type - electric If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23585
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes