## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-29 Langley House
Langley Close
Redcar
TS10 4JF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23606
DATE OF REPORT: 03/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23606
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-29 Langley House
Langley Close
Redcar
TS10 4JF
Carried Out On | 03/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
no heating in the communal area

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23606
SECTION 3: Report
No heating in communal lounge 2 x convector heaters, tested flow and return temperatures, 80f and 70 dc return. Both heaters have lost power supply to fans and stats, Karbon electrician isolated power to heaters following a water leaknsome months ago. I can't trace where power is isolated, DB not marked up. Lounge radiators, I diagnosed faulty 2 port zone valve, travelled to merchants, back to site and replaced Drayton 2 port valve. FOW, electrician required to establish power tk w x convector heaters. FOW, Zenith to return to site and service heaters and establish any faults with heaters.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23606
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23606
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23606
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23606
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23606
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes