## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
33 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23643
DATE OF REPORT: 05/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23643
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 33 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 04/10/2022, 05/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Elderly caller. No heating on going issue. Communal boiler only Mr Dodds flat with no heating. ---- ---- Confirmation for call out on 01/10/2022

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23643
SECTION 3: Report
Replaced faulty Siemens actuator to heating this was supplied by consett Wolsey all tested for operation and working satisfactory bedroom and kitchen radiator were left turned off by request of tenant TENANT NOT IN, DOOR LEFT WEDGED OPEN. I accessed flat assuming door was left open for me. Flat ambient temperature 22 dc, radiators off, room stat set to 20 dc, I increased room stat to 26 dc and radiators warmed up. Towel rail and bedroom rads manually turned off as requested by TENANT on previous visit. Today I have adjusted room stat up and down, 2 port zone valve operated correctly.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23643
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes