## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Park Drive
Langley Park
Durham
DH7 9TD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23666
DATE OF REPORT: 03/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23666
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 Park Drive
Langley Park
Durham
DH7 9TD
Carried Out On | 03/10/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No hot water and issues with thermostat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23666
SECTION 3: Report
Looked at 3 port Valve in cupboard and had no power going to it. Heating was being let through but when switched off spindle was not moving leading me to think there is an electrical fault. John Hepworth to have electricians c back on site to look at issue.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23666
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes