## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
50 The Elms
Chester-Le-Street
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23695
DATE OF REPORT: 04/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23695
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 50 The Elms
Chester-Le-Street
DH2 3EJ
Carried Out On | 04/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Repair under floor heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23695
SECTION 3: Report
GB-4/10/22- NEW STAT REQUIRED. ORGINAL WAS NOT GETTING ANY POWER DOWN THE SWITCH LIVE WHEN STAT TURNED ON. TRIED TO REPLACE WITH STAT IN THE OFFICE AND KEPT BLOWING THE FUSE SPUR. ONLY TIME WOULD NOT BLOW IS WHEN THE NEUTRAL WAS NOT CONNECTED TO THE STAT.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23695
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes