## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 16 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23752
DATE OF REPORT: 06/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23752
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 16 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 06/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Tenant from flat 16 is suffering with health condition and has no heating within bathroom which can affect health.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23752
SECTION 3: Report
Heating not working. Underfloor Initial observation, flat window's open and room stats turned off. Tenant complaining she has hot and cold spots in bathroom floor area. Shower/wet room. I removed wood panel to access heating manifolds in hall way. Zones, lounge, kitchen, hall, bed 1 bed 2, bathroom,operated room stats and observed all heating actuators motor to ON. Waited 45 minutes, Thermal camera, shows, bed 1, 23 dc, bed 2, 21 dc, lounge 23 dc, kitchen, 24 dc, hall 22 dc. Bathroom, 1st 2 sq metre at door 23 dc, rest of bathroom floor 17.5 dc. I Don't think underfloor heating covers all the bathroom floor due to shower/ wet room design. Explained to Tenant the principal of underfloor heating, low , slow warm up to setpoint.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23752
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes