## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7B Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23783
DATE OF REPORT: 24/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23783
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7B Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
Carried Out On | 11/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
No hot water between 7-9am daily

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23783
SECTION 3: Report
Tested water to all tap outlets and shower, all good pressure and temperature, albeit, outside the time period the tenant has indicated. Removed wood panel to access pipework, pipework related to heating system only. Refitted panel. The TMVs are working correctly and I tested the safety shut off to the TMV, working correctly. I accessed the boiler room and checked plant, all ok. Both water heaters working, pumps working.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23783
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23783
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23783
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23783
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23783
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes