## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-58 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23804
DATE OF REPORT: 10/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23804
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-58 Weavers Court
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 10/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
gas oven not working - this is a working cafe and the gas oven is not working because the gas keeps on cutting out to the oven - if possible please can someone attaned as soon as possible

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23804
SECTION 3: Report
Spoke to chef, gas oven turns off intermittently, hob stays on. I have checked the gas supply and safety equipment, all working OK. Chef tells me oven has been ok today and he has used oven and hob all morning. Chef has requested we visit site again after 1400 hours and carry out a thorough service and diagnosis. I was unable to work on oven this morning due to oven being used and kitchen was busy. Travel 0745, 0945, on site til 1015

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23804
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes