## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
BURN PROMENADE
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-23805
DATE OF REPORT: 27/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23805
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | BURN PROMENADE
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 18/10/2022, 27/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
radiator leak the plumber has advised a new general job will have to be raised for Zenith to go and renew the radiator valve in lounge.The boiler will need to be stopped for this.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23805
SECTION 3: Report
GB- 18/10/22- TRIED TO FIND ISOLATION ON FLOW AND RETURN TO COMMUNAL LOUNGE RADS, BEEN IN CEILING SPACE AND UNDERFLOOR AND NOTHING. ON BLUEPRINTS PIPE WORK IS SHOWN BUT DOES NOT STATE WHERE ISOLATIONS ARE. TRIED DRAINNING DOWN SYSETEM BUT TURNS OUT IT IS ALSO TANK FED. GOT EVEYTHING BACK UP AND RUNNING. BOILER 1 SHOWING E133 ERROR CODE GB-27/10/22- FOUND ISOLATION FOR THE RADS IN THE COMMUNAL AREA, TOOK THE ONE OF THE OLD VALAVES OFF AND TRIED TO FIT NEW VALVE BUT WHEEE NOT LONG ENOUGH TO CONNECT TO THE RAD. SO STRIPPED DOWN THE THREE TRV VALVES AND CLEANNED THE INTERNALS AND SWAPPED THE HEADS OVER.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23805
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes