## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-23810
DATE OF REPORT: 10/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-23810
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 10/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Tenants son has reported that the heating is not working The tenant is 88 and is not able to function properly when he is cold.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-23810
SECTION 3: Report
Isolated radiators, removed and flushed out, lots of sudge in rads. Refitted radiators and flushed heating pipework, flushed until heating water ran clean. Vented radiators and cleared airlock. Radiators heating up and then cooling down due to no flow, checked boiler room pumps and pressure, ok. Dragged heating water around system in an attempt to regain flow and return in pipework. Rads only heat up when hose pipe is connected and water is forced to circulate. I fitted new 2 port valve and thermostat. FOW, supervisor to visit site and diagnos and fix issue's.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-23810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-23810
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes