## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Tollgate Bungalows
Catchgate
Stanley
DH9 8HT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24019
DATE OF REPORT: 14/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24019
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Tollgate Bungalows
Catchgate
Stanley
DH9 8HT
Carried Out On | 14/10/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24019
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -no upstairs Downstairs Smoke Alarm Location & Date -passage no date Heat Alarm Location & Date -no heat alarm Co Alarm Location & Date -passage 2025 Co Alarm Replaced - Yes/No =no Boiler to be removed -yes Boiler Serial number -2106330851 Combi / heat only / system boiler -combi Boiler location -cupboard in passage Is 22mm gas pipe visible at boiler - yes Flue type -vertical Any access requirements -none Flue guard needed -no Standoff kit required -no Gas meter internal / external -external Condensate pump required -no Condensate termination -in floor Number of radiators -8 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -yes Any other means of heating -no Current Cooker Type -electric If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes