## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Robinson House
Grant Street
Horden
SR8 4DD
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 22-24034
DATE OF REPORT: 17/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24034
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | 1 Robinson House
Grant Street
Horden
SR8 4DD
Carried Out On | 14/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
FALSE

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24034
SECTION 3: Report
Accessed loft. 2 issues 3" copper cold water mains, sweating, needs lagging 20m in this roof space, more in connecting roof spaces, I've not Accessed. 22mm x 22mm x 15mm tee and 22mm and 15mm copper pipe leaking on the domestic hot water supply and secondary return. Leak is a drip, but the tenant has special needs kids so to be treat as urgent We would have to access boiler house and I assume isolate at calorifiers unless client can assist with any site info for local isolations. Client will need notice of isolating supplies. 1 x tee 4 x 22mm press straights 4 x 15mm press straights 15mm copper 22mm copper Crimper 1 x commercial engineer 1 x Plumber Boiler House Code, Key Gemma, 07376472166 tenant

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24034
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24034
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24034
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24034
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24034
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes